## Sheet1
PPL Electric Utilities Corp.
Peak Load Day/Hour Data for the Calculation
of the 2011 Peak Load Contributions (PLCs)
PJM 2010 Coincident Peaks
Use in development of the 6/1/11 to 5/31/12 Capacity Peak Load Contributions
| Peak Date | Peak Time |  | Peak Load Value2 | Reconciliation
|  | (Hour Beginning) | (Hour Ending) | (MW) | Factors
ICAP | 2010-07-06 | 1600 | 1700 | 7114.9 | 0.94205
ICAP | 2010-07-07 | 1600 | 1700 | 7215.7 | 0.93115
ICAP | 2010-07-23 | 1600 | 1700 | 6686.1 | 1.0042
ICAP | 2010-08-10 | 1600 | 1700 | 6784.7 | 0.99318
ICAP | 2010-08-11 | 1600 | 1700 | 6859.8 | 0.98131
ICAP Target1 | 2010-07-06 | 1600 | 1700 | 6770
1 Interruptioned Load Added Back and Weather Normalized
2 Metered Load with Interruptions Added Back
Five Coincident PJM Peaks from 10/1/19 to 9/30/10
Update1/14/2012
PPL Zone 2010 Metered Peaks
Use in development of the 1/1/11 to 12/31/11 Transmission Peak Load Contributions
| Peak Date | Peak Time |  | Peak Load Value | Reconciliation
|  | (Hour Beginning) | (Hour Ending) | (MW) | Factors
TX | 2010-07-07 | 1600 | 1700 | 7214.462 | 1.0026
TX | 2010-07-08 | 1300 | 1400 | 7153.158 | 0.99299
TX | 2010-07-06 | 1400 | 1500 | 7122.611 | 0.99874
TX | 2010-09-02 | 1600 | 1700 | 6939.368 | 1.0364
TX | 2010-07-21 | 1600 | 1700 | 6906.072 | 1.0399
TX Traget | 2010-07-07 | 1600 | 1700 | 7214.5
Based on the PPL Zone Metered Peaks
Five PPL Zone Peaks from 11/1/08 to 10/31/10
Update1/14/2011